## Volume Calculation
Name of Restaurant |  | Il Primo
Determine Class Number
Minimum acceptable size of grease control equipment for each FSE Classification will be as follows:
Class 1 | Deli, Ice Cream Shops, Beverage Bars, Mobil Food Vendors -20 gpm/40 Pound Grease Trap
Class 2 | Limited Service Restaurants/Caterers - 500 gallon Grease Interceptor
Class 3 | Full Service Restaurants - 1000 gallon Grease Interceptor
Class 4 | Buffet and Cafeteria Facilities - 1500 Gallon Grease Interceptor
Class 5 | Institutions (Schools, Hospitals, Prisons, etc.) 2000 Gallon Grease Interceptor
Enter Class Number
Determine Parameters
Number of seats in dining area
Sunday
Monday
Tuesday
Wednesday
Thursday
Friday
Saturday
| Number of hours open |  |  |  | 0
Meals per day
| Gallons of wastewater per meal, normally 5 gallons |  |  |  |  | gallons
Storage capacity factor, a minimum of 1.7
Class 2 through 4 Restaurant
Determine Road Loading Factor
1.25 for interstate freeways
1.0 for other freeways
1.0 for recreational areas
0.8 for main highways
0.5 for other highways
Enter Road Loading Factor
Class 5 Restaurant
Determine Waste Loading Factor
1.25 for garbage disposal and dishwasher
1.0 without garbage disposal
0.75 without dishwashing
0.5 without dishwashing and garbage disposal
Enter Waste Loading Factor |  | 0
| Size of Grease Trap | 0 | Gallons
Retention time through the grease interceptor should be at least 30 minutes to one hour
The WWTA will review GCE sizing information received from the FSE's engineer architect or
contractor. The WWTA will make a decision to approve or require additional grease interceptor
volume, based on the type of FSE, the number of fixture units, and additional calculations.
Grease interceptor capacity should not exceed 2000 gallons for each interceptor tank.

## Increased Sampling Frequency
Grease Interceptors:
| Required Frequency = | 3 | Months
| Required Volume = | 0 | Gallons
| Reduced Volume = | 1500 | Gallons
| Reduced Frequency = | #DIV/0! | Months
|  | #DIV/0! | Weeks

## Traps
Grease Traps:
| Total Pounds = | 85 | Pounds
| Assumed Density of FOG = | 7.7 | Pounds per Gallon
| Required Frequency = | 3 | Months
| Required Volume = | 0 | Gallons
| Reduced Volume = | 11.039 | Gallons
| Reduced Frequency = | 0.27176 | Months
|  | 1.1822 | Weeks
|  | 8.2752 | Days